DVT

Positioning:

Lay patient flat, supine position

Have pt bend their knee and then rotate outward at the hip into

a frog-leg position

Probe:

Linear

Views:

1. Femoral  views

2. Popliteal views

DVT Technique and Tips

CFA

CFA

SV

SV

CFV

CFV

1. Femoral views (Lable right or left FEM)

Indicator to patient’s right

Start as proximally as possible, just under

inguinal ligament, where there are just 2

vessels visible; the common femoral artery

(CFA) and common femoral vein (CFV)

Taking a video, compress the vein against the

femur until it completely collapses

Slide the probe distally past the offtake of the

saphenous vein and compress again

Slide the probe distally until the common

femoral vein splits into the deep and superficial

femoral veins, and then compress again

Continue to follow the vein distally as far as you can,

stopping every few cm to compress the vein again

taking clips each time

2. Popliteal views (Label right or left POP)

Indicator to patient’s right

Tuck the probe into the popliteal fossa just behind the

knee, locating the popliteal artery and vein

Compress the vein completely

Trace the vein distally until it bifurcates (just a few cm)

and compress again

3. Augmentation (can be done for fem and pop views)

Need a second hand to do this part while taking a clip

Press the “Color” button (just above the 2D button) on

the machine

Use the mouse pad to move the color box over the vein

Use the gain knob to adjust the sensitivity of the color doppler to flow so that the artery is pulsating with color, but the vein is not

Squeeze the calf and look for a flash of color in the vein. This indicates augmentation and

therefore, a lack of obstruction (e.g. DVT) between the probe and the calf. Compare the

degree of augmentation between the two legs.

Troubleshooting

Having trouble applying pressure to the vein?

In the femoral view, make sure to angle the probe slightly laterally as you push,

compressing the vessel between the femur and the probe.

In the popliteal view, make sure the knee is slightly flexed; when the knee is extended, the

ligamentous structures behind the knee prevent compression

If you are able to compress the artery but not the vein, that is indicative of a DVT!